## Power Curve
Wind Speed [m/s] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power [kW] | Power[kW]
| CleanMax -Gujarat (*Den-1.142) | Renew-4 -Kudligi- KA (*Den-1.076) | Renew-4-Otha - GJ (*Den-1.153) | Renew -Pithalur-GJ (*Den-1.153) | CleanMax-Jagalur-KA (*Den-1.070) | Fourthpartner-Ottapidaram-TN (*Den-1.145) | Sembcorp Tuticorin-TN (*Den-1.145) | AMGPEL Kurnool | JSW Sandur KA | Fourthpartner Kudligi KA | Ayana Amreli GJ | Sprng Mulanur TN (1.125Kg/m3) | ACME Shapur GJ (1.136Kg/m3) | Cleanmax Honavad KA (1.105Kg/m3) | Renfra trichy TN | NSL_AP (1.089 Kg/m3) | Renew Gadag KA
3 | 7 | 9 | 9 | 9 | 8 | 4 | 17 | 3 | 8 | 4 | 4 | 3 | 4 | 8 | 5 | 3 | 3
3.5 | 86 | 66 | 81 | 81 | 66 | 80 | 106 | 73 | 69 | 66 | 79 | 79 | 79 | 99 | 96 | 72 | 73
4 | 222 | 191 | 219 | 219 | 188 | 217 | 249 | 203 | 193 | 191 | 216 | 221 | 216 | 242 | 247 | 207 | 203
4.5 | 382 | 346 | 381 | 381 | 339 | 379 | 417 | 361 | 350 | 346 | 377 | 385 | 377 | 404 | 416 | 368 | 361
5 | 562 | 520 | 565 | 565 | 510 | 561 | 607 | 539 | 526 | 520 | 559 | 571 | 559 | 585 | 607 | 549 | 539
5.5 | 768 | 719 | 776 | 776 | 704 | 771 | 826 | 743 | 727 | 719 | 768 | 788 | 768 | 794 | 829 | 760 | 743
6 | 1007 | 953 | 1027 | 1027 | 928 | 1017 | 1081 | 984 | 962 | 951 | 1014 | 1045 | 1014 | 1038 | 1092 | 1009 | 984
6.5 | 1283 | 1224 | 1318 | 1318 | 1189 | 1304 | 1376 | 1263 | 1237 | 1221 | 1300 | 1342 | 1300 | 1322 | 1398 | 1298 | 1263
7 | 1602 | 1538 | 1653 | 1653 | 1487 | 1633 | 1715 | 1587 | 1551 | 1531 | 1627 | 1674 | 1627 | 1645 | 1747 | 1622 | 1587
7.5 | 1958 | 1892 | 2032 | 2032 | 1821 | 2003 | 2086 | 1951 | 1907 | 1881 | 1996 | 2040 | 1996 | 2006 | 2140 | 1979 | 1951
8 | 2335 | 2285 | 2444 | 2444 | 2187 | 2399 | 2464 | 2353 | 2295 | 2263 | 2391 | 2432 | 2391 | 2393 | 2551 | 2363 | 2353
8.5 | 2690 | 2687 | 2841 | 2841 | 2554 | 2788 | 2801 | 2749 | 2689 | 2652 | 2780 | 2798 | 2780 | 2764 | 2941 | 2737 | 2749
9 | 2975 | 3038 | 3164 | 3164 | 2876 | 3083 | 3055 | 3077 | 3030 | 2994 | 3078 | 3075 | 3078 | 3051 | 3184 | 3033 | 3077
9.5 | 3168 | 3240 | 3279 | 3279 | 3112 | 3242 | 3211 | 3255 | 3224 | 3202 | 3239 | 3225 | 3239 | 3220 | 3286 | 3211 | 3255
10 | 3266 | 3299 | 3286 | 3286 | 3252 | 3290 | 3280 | 3285 | 3287 | 3287 | 3290 | 3276 | 3290 | 3280 | 3293 | 3271 | 3285
10.5 | 3296 | 3300 | 3293 | 3293 | 3291 | 3297 | 3298 | 3292 | 3294 | 3294 | 3296 | 3294 | 3296 | 3295 | 3300 | 3291 | 3292
11 | 3300 | 3300 | 3300 | 3300 | 3298 | 3300 | 3300 | 3299 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3299
11.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
12 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
12.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
13 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
13.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
14 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
14.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
15 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
15.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
16 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
16.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
17 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
17.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
18 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
18.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
19 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
19.5 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300
20 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300 | 3300

## Sheet1
3 | 8 | 0.85
3.5 | 69 | 0.84
4 | 193 | 0.81
4.5 | 350 | 0.8
5 | 526 | 0.78
5.5 | 727 | 0.77
6 | 962 | 0.77
6.5 | 1237 | 0.77
7 | 1551 | 0.77
7.5 | 1907 | 0.76
8 | 2295 | 0.75
8.5 | 2689 | 0.71
9 | 3030 | 0.64
9.5 | 3224 | 0.56
10 | 3287 | 0.47
10.5 | 3294 | 0.39
11 | 3300 | 0.33
11.5 | 3300 | 0.29
12 | 3300 | 0.25
12.5 | 3300 | 0.22
13 | 3300 | 0.19
13.5 | 3300 | 0.17
14 | 3300 | 0.15
14.5 | 3300 | 0.14
15 | 3300 | 0.12
15.5 | 3300 | 0.11
16 | 3300 | 0.1
16.5 | 3300 | 0.09
17 | 3300 | 0.09
17.5 | 3300 | 0.08
18 | 3300 | 0.07
18.5 | 3300 | 0.07
19 | 3300 | 0.06
19.5 | 3300 | 0.06
20 | 3300 | 0.05

## CT
Wind Speed [m/s] | Thrust Coefficient | Thrust Coefficient | Thrust Coefficient | Thrust Coefficient | Thrust Coefficient | Thrust Coefficient | Thrust Coefficient
| CleanMax -Gujarat (*Den-1.142) | Renew-4 -Kudligi- KA (*Den-1.076) | Renew-4-Otha - GJ (*Den-1.153) | Renew -Pithalur-GJ (*Den-1.153) | CleanMax-Jagalur-KA (*Den-1.070) | Fourthpartner-Ottapidaram-TN (*Den-1.145) | JSW Sandur-KA (*Den-1.080)
3 | 0.85 | 0.852 | 0.852 | 0.852 | 0.85 | 0.85 | 0.85
3.5 | 0.84 | 0.841 | 0.841 | 0.841 | 0.84 | 0.84 | 0.84
4 | 0.82 | 0.815 | 0.815 | 0.815 | 0.81 | 0.81 | 0.81
4.5 | 0.8 | 0.797 | 0.797 | 0.797 | 0.8 | 0.8 | 0.8
5 | 0.78 | 0.78 | 0.78 | 0.78 | 0.78 | 0.78 | 0.78
5.5 | 0.77 | 0.77 | 0.77 | 0.77 | 0.77 | 0.77 | 0.77
6 | 0.77 | 0.768 | 0.768 | 0.768 | 0.77 | 0.77 | 0.77
6.5 | 0.77 | 0.768 | 0.768 | 0.768 | 0.77 | 0.77 | 0.77
7 | 0.77 | 0.767 | 0.767 | 0.767 | 0.77 | 0.77 | 0.77
7.5 | 0.77 | 0.765 | 0.765 | 0.765 | 0.76 | 0.76 | 0.76
8 | 0.75 | 0.751 | 0.751 | 0.751 | 0.75 | 0.75 | 0.75
8.5 | 0.69 | 0.692 | 0.692 | 0.692 | 0.71 | 0.71 | 0.71
9 | 0.6 | 0.598 | 0.598 | 0.598 | 0.64 | 0.63 | 0.64
9.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.56 | 0.54 | 0.56
10 | 0.41 | 0.41 | 0.41 | 0.41 | 0.47 | 0.44 | 0.47
10.5 | 0.34 | 0.344 | 0.344 | 0.344 | 0.4 | 0.37 | 0.39
11 | 0.29 | 0.294 | 0.294 | 0.294 | 0.34 | 0.32 | 0.33
11.5 | 0.25 | 0.253 | 0.253 | 0.253 | 0.29 | 0.27 | 0.29
12 | 0.22 | 0.221 | 0.221 | 0.221 | 0.25 | 0.24 | 0.25
12.5 | 0.19 | 0.194 | 0.194 | 0.194 | 0.22 | 0.21 | 0.22
13 | 0.17 | 0.172 | 0.172 | 0.172 | 0.2 | 0.18 | 0.19
13.5 | 0.15 | 0.153 | 0.153 | 0.153 | 0.17 | 0.16 | 0.17
14 | 0.14 | 0.137 | 0.137 | 0.137 | 0.16 | 0.15 | 0.15
14.5 | 0.12 | 0.123 | 0.123 | 0.123 | 0.14 | 0.13 | 0.14
15 | 0.11 | 0.112 | 0.112 | 0.112 | 0.13 | 0.12 | 0.12
15.5 | 0.1 | 0.101 | 0.101 | 0.101 | 0.11 | 0.11 | 0.11
16 | 0.09 | 0.092 | 0.092 | 0.092 | 0.1 | 0.1 | 0.1
16.5 | 0.09 | 0.085 | 0.085 | 0.085 | 0.1 | 0.09 | 0.09
17 | 0.08 | 0.078 | 0.078 | 0.078 | 0.09 | 0.08 | 0.09
17.5 | 0.07 | 0.071 | 0.071 | 0.071 | 0.08 | 0.08 | 0.08
18 | 0.07 | 0.066 | 0.066 | 0.066 | 0.07 | 0.07 | 0.07
18.5 | 0.06 | 0.061 | 0.061 | 0.061 | 0.07 | 0.06 | 0.07
19 | 0.06 | 0.057 | 0.057 | 0.057 | 0.06 | 0.06 | 0.06
19.5 | 0.05 | 0.053 | 0.053 | 0.053 | 0.06 | 0.06 | 0.06
20 | 0.05 | 0.049 | 0.049 | 0.049 | 0.05 | 0.05 | 0.05